## Slide 1
Escuela Politecnica Superior
Instruct Image Processing Center, CNB-CSIC
Roberto Marabini Ruiz
Notes: In this talk we would like to present how ScipionBox is used at the CNB

## Slide 2
Escuela Politecnica Superior
Instruct Image Processing Center, CNB-CSIC
Roberto Marabini Ruiz
Scipionbox: A framework towards Integration and Reproducibility in 3D Electron Microscopy
Notes: 2
Hello, I am Roberto Marabini
2

## Slide 3
What People See
What Happens Underneath
Notes: I have divided this talk in two main parts. In the first one I will present the user perspective while in the second part a will follow the developer point of view.

## Slide 4
Goal
Detect problems at early stages (microscope)
Provide a first evaluation of the data quality (sample)
Save computing time
Notes: Ithink the main goals of Scipion box are the same for all facilities
Detect problem in early stages: for example shift in the electron beam
Data quality: move to another area
Save computing time: process while you collect
4

## Slide 5
particle picking
movie collection
Workflow – Monitor – Report - API
Notes: In order to satisfy the 3 mentioned requirements scipionbox needs to implement a workflow similar to this one. At present, at CNB, we are running this part, soon we will add this extra protocol and finally this are long term projects. In addition to the workflow scipoionbox also need to incorporate monitor that alert users. It should be able to create reports on the different jobs and finally should be able to connect with other software.

## Slide 6
SetUp
At
CNB
Notes: Present what we do
Focusing on
Overview
And I would like to present you the work we develope at the I2PC in the area of image processing.
Let me show in a single slide the kind of work we do and then I will focus on workflows and data management
6

## Slide 7
Microscope
Firewall
Cloud Processing
Control Mic.
LAN Storage
1 Gbit/sec
Local Storage
USB-3
WAN Storage
/ processing
BBCP
(5031)
1 Gbit/sec
32 x
64 x
Notes: bbcp does not encrypt the data stream

## Slide 8
User Point of View
Notes: Present what we do
Focusing on
Overview
And I would like to present you the work we develope at the I2PC in the area of image processing.
Let me show in a single slide the kind of work we do and then I will focus on workflows and data management
8

## Slide 9
Launch
roberto@clark.cnb.csic.es:
scipion-newsession
http://scipion.cnb.csic.es/scipionbox/project_name

## Slide 10
20170713_roberto_ribosome ├── GRID_01 │ ├── ATLAS │ └── DATA
| … ├── GRID_12 │ ├── ATLAS │ └── DATA └── ScipionUserData └── projects └── 20170713_roberto_ribosome
Notes: Como se asigna EPU to directorio

## Slide 11
Execute
Continue Import
Continue MotionCorr2
LaunchAll

## Slide 12
System Monitor

## Slide 14
Report
Last pictures
http://scipion.cnb.csic.es/scipionbox/project_name

## Slide 16
Limitations
Concurrency
Notes: Concurrence
GPU-CPU

## Slide 17
Developer Point of View
Notes: Let us now analyze the behaviour of scipionbox at CNB from a developer point of view
17

## Slide 18
Notes: What I want to show you here is what is the impact of each process in the computer. What we have done is to meassure transfer rates, GPU usage etc.

## Slide 19
Frames per movie | 18
Number Movies | 6321
Total Acquisition time | 4 days (7 hours preparation)
Time per Movie | 55 sec
Time per Movie (mode) | ~17 sec
Dose per frame | 1.68 e/A
Total Dose | 29 e/A
Voltage | 200 Volt
Dose Filter=0 | 24 e/A
Movie Size | 623 MB
Materials and Methods
The value that appears more often

## Slide 20
Notes: People see this
What really happend

## Slide 21
8.25 sec, movie
Disk write
Net recv
Notes: How much time is spent moving a movie to scipion box?
80 images, no periodicity
80 -> movies (cp_movie.bat) -> 8.25 sec, movie
19 -> 623K
32->1.049K
Comentar 17 es el target

## Slide 22
1 Gbit/sec
Transfer
Write
Read
GPU (th)
Notes: Recv by eth1
Delayed write but in cycle
NO READ (buffer) – do not delay if you want to use buffer
GPU activity//half cycle so OK but see next overhead --< better results 2 threads
Generate each 17 seg and then wait 60 sec each 3 run motion coor -nothing -add backup -add network
Explicar wen detalle sistema de buffer

## Slide 23
Notes: With 32 (titan) no much difference in adquisitiont time but here is not much free GPU. Two GPUs is a must

## Slide 24
Motioncorr2 50 -> 1.10 min.
Notes: Now we have read and the pace is equal.
Por que se puede llegar a esta situacion

## Slide 25
Notes: Read is bad so what about local backup, with and without reading

## Slide 26
Notes: Lan backup
Show disk read –write lan1 lan2
Consistencia de colores

## Slide 29
Port = 5031

## Slide 31
Notes: Emails, sms, web server

## Slide 32
In Summary
Notes: Present what we do
Focusing on
Overview
And I would like to present you the work we develope at the I2PC in the area of image processing.
Let me show in a single slide the kind of work we do and then I will focus on workflows and data management
32

## Slide 33
Current Set up (1 GPU, 64 GB, 32 CPUs) is OK for current necessities providing there is no concurrency.
Movies can be transferred to remote locations in real time.
Recommend a second GPUs and two independent disk, one for acquisition, other for storage.
Reinforce backup in real time.
Warnings and reports not very popular.
Should we allow direct access to ScipionBox?
Notes: Present scipion script
-- report
-- email and warning
-- backup
--
Conclusion

## Slide 35
Notes: TODO: rcontinuar, importar -> importar movies dos veces, motioncor
-> Execute all
-> parada NN hours no suficientes posiciones continue